## Bldg Pressure Test Log
NUPI Americas Bldg. Pressure Test Log
Project Name:
Bldg. Name:
Street/Address:
City:
State/Province:
Zip/Postal Zone:
Test No. | Test Report Date | Pipe System | Descr. of Pressure Test Seg., state dwg no. if applicable
Submit Bldg. Test Log to NUPI Americas online at: |  |  | XXXXXXXX
Submit electronic pdf drawings whichclearly indentify pressure testing segment when applicable.

## Pressure Test Submittal
NUPI Americas Pressure Testing Submittal Form |  |  |  | Project Name:
(FOR LIQUID SYSTEMS) |  |  |  | Report Date:
Pressure Test Analyst: |  |  |  | Test No.:
| Primary Tester: |  |  | Description of Pressure Test Segment:
Smartcard No:
Email:
Signature
Provide electronic pdf drawings if necessary to illustrustrate pipe section represented by this pressure test.
Installing Installer Smartcard Numbers:
Installation Details:
System Operating Pressure:
System Operating Temperature:
Contractor Information:
| License No: |  |  | Preliminary Test:
| Company Name: |  |  |  | Test Date:
| Telephone No.: |  |  |  |  | Preliminary Test Pressure:
Pressure after 30 minutes
Building Details: | [5 empty] | Tested Passed (Yes/No)
Bldg. Name:
| Street/Address: |  |  | Principal Test:
| City: |  |  |  | Test Date:
| State/Province: |  |  |  |  | Principal Test Pressure:
| Zip/Postal Zone: |  |  |  |  | Time Elapsed:
| Bldg. Owner: |  |  |  |  | Pressure after:
| Bldg. Manager: |  |  |  |  | Tested Passed (Yes/No):
Bldg. Mgmt. Group:
Final Test
Installation Description: |  |  |  |  | Test Date:
| Project Type: |  |  |  |  | 1st Cycle Completed:
| Stories in Bldg: |  |  |  |  | 2nd Cycle Completed:
| Piping System Type: |  |  |  |  | 3rd Cycle Completed:
| Fusion Type: |  |  |  |  | 4th Cycle Test Pressure:
| Chemicals/Conc.: |  |  |  |  | 4th Cycle Pressure after 5 min. Isolation
System Tested: | [5 empty] | 4th Cycle Low Pressure:
|  | NUPI Americas SDR 17: |  |  |  | 4th Cycle Pressure after 5 min. Isolation
|  | NUPI Americas SDR 11: |  |  |  | Tested Passed (Yes/No):
|  | NUPI Americas SDR 9: |  | NUPI Americas pipe must be fused by certified NUPI Americas installers. Follow all NUPI Americas safety procedures before and during testing.
NUPI Americas SDR 7.3:
Submit Test to NUPI Americas online at: |  |  | XXXXXXXX